## Slide 1
Innovative Approaches to Powering Economic Sectors : Context for Nepal
by Alok Kumar October 2024

## Slide 2: Agenda / Content
Overview of Electricity Sector of Nepal
1
Key Objectives
2
Supply Side Challenges
3
Commercial Aspects
4
Demand Side Management
5
Summary
6

## Slide 3: Overview of Electricity Sector of Nepal

## Slide 4: Present Energy Scenario of Nepal (1/2)
In total energy supply in 2021, 60 % was from fuelwood and electricity share was only 4.2%
Renewables had a share of 2.4%
Residential sector consumed 60% energy, Industrial 22.7%, Agriculture 0.94%
91% of the energy consumed by residential category came from biofuels and waste – IEA 2022
Second NDC for 2021-2030 aims at expansion of clean energy generation from 1400 MW to 15000 MW . Mini/micro- hydro power, solar , wind and bio-energy should contribute 5-10% of the generated energy :of which 5000 MW is unconditional target.
Gross Hydropower potential estimated at 72,544 MW
Present capacity stands at 2684 MW,
About 11920 MW ( incl completed, under construction and in pipeline)
Nepal exports about 450 MW to India through DAM , it imports about 1.83 BU (2022)
Over 92% electricity consumers are residential , industrial consumers are 1.31%
--- contd

## Slide 5: Present Energy Scenario of Nepal (2/2)
99% of electricity generation is from hydro, 1% comes from solar
Grew from 3.4 BU in 2015 to 10.58 BU in 2022
Per capita electricity consumption was 312 units in 2022, ranked 129th globally and 23rd (last) in Asia Pacific region – IEA
Final consumption of electricity : 43% Residential and 38% Industrial categories
Consumption of these two categories growing continuously

## Slide 6: Key Objectives

## Slide 7: Sustainable Development Goal 7
Ensure Access to Affordable , Reliable, Sustainable and Modern Energy for All
7.1 Universal Access to All by 2030
7.2 Increase Share of RE Substantially in Global Energy Mix
7.3 Double the Rate of Improvement in Energy Efficiency by 2030
Projections/ Status :
  1. By 2030, 660 million will still lack access to electricity
  2. By 2030, 1.8 billion without access to clean cooking
  3. In 2021, RE share in global energy consumption was 18.7%
  ( 12.5% if traditional biomass excluded)
  4. COP 28 in 2023 calls for tripling RE capacity by 2030
  5. Original target of annual improvement in primary energy intensity of 2.6% not achieved
  Now we need to achieve 4% per annum till 2030

## Slide 8: Where Does Nepal Stand ?
In 2022 , Nepal had achieved the following:
94% of its population had access to electricity , increasing at a significant pace
6.9% of the population had access to renewable energy
Renewable energy accounted for 2.52% of the total energy consumption mix
92.2% of households used electricity as the main source of lighting
51% of households used fuelwood for cooking
44.3% of households used LPG for cooking

## Slide 9: Per Capita Electricity Generation and Income ( 2022)
Country | Per Capita Kwh | Per Capita ( USD)
Nepal | 321 | 1336
Sri Lanka | 772 | 3354
China | 6635 | 12720
India | 1377 | 2410
Bangladesh | 590 | 2688
USA | 12497 | 76320

## Slide 10: Nepal – Energy Sector Vision 2050
Harness vast hydropower potential – export surplus electricity
Develop multipurpose hydropower projects to achieve financial prosperity and economic growth
Promote renewable energy resources – including solar power , biogas
Promotion of energy efficient technologies
Integrate off grid RE sources into the national grid
Ensure energy security and sustainability
Aspirational Targets:
Increase per capita electricity consumption to 955 kWh by 2050
100 % electrification in various sectors including agriculture, industry and transportation
Around one third of total primary energy demand from RE by 2050
Double the annual improvement rate of EE to 1.68% by 2030

## Slide 11: Supply Side Challenges

## Slide 12: Overview of Generation Sources
Heavy dominance of hydro power – Clean energy but seasonal generation
        A sample study of Bhudigandaki river at Arughat shows that Daily flow varied from 18 cum/s to 1457 cum/s
        Seasonality shows that out of total annual flow, 72% ( June-Sept), 12%(Oct-Nov), 6% (Dec to Feb ) and 10% ( March to May)
One study ( Jan 2022 ) found that Nepal could harness upto 47 GW of solar and 1.6 GW of wind energy
Solar potential with average of 300 days and 6.8 hours of sunshine per day
Biogas and Micro hydro also have limited potential

## Slide 13: Supply Side Challenges
Demand forecasting needs more attention as uncertainties in weather pattern and electrification of energy consumption increase – needs granular , stochastic and more periodic assessment
Going forward, economic growth will require reliability of power supply at least possible costs Nepal’s power sector has no issues of sustainability – being dominated by hydro and future growth in solar
Ensuring reliability appears to be a big challenge in view of very high seasonality of hydro generation , and peak demand coming in low generation period.
Co-optimized generation and transmission planning needs to be implemented , factoring into the export obligations.
Resource Adequacy check will guide the planners regarding optimum storage capacity and , also the quantum/duration of exports for meeting the demand reliably at least possible cost
Due attention is required on storage , solar etc in addition to hydro power
Over dependence on short term markets is not desirable, hence long term contracts both for export and import should be considered
Contracts should factor in the load pattern for internal consumption

## Slide 14: Network Augmentation

## Slide 15: Network Augmentation for Reliability
During the period after rapid growth in access to electricity, distribution networks often report large number of system outages and interruptions.
System operation reports of NEA also show large number of interruptions
For facilitating sustained growth of consumption of electricity, consumers expect reliable supply of power, particularly for commercial and industrial activities in smaller towns and rural areas
Moreover, reliable power supply also reduces the back up arrangements like DG sets , and improves viability of economic activities
The experience in Gujarat ( in India) after implementation of Jyoti Gram Yojana shows that assured round the clock 3 - phase power supply for domestic and commercial users in rural areas spurred significant economic activities – agricultural consumers were segregated by laying down separate feeders for them which made it possible to regulate their supply hours appropriately
Network augmentation can now be optimised further with the help of correctly placed batteries – as cost of batteries have shown continuous decline
Network expansion/ augmentation is a continuous exercise to ensure that available capacity at sub- stations and distribution transformers is timely augmented ahead of demand growth , which in turn needs to be correctly forecast timely

## Slide 16: Network Augmentation for Reliability -- Requires Evolving Approach
Case study from India
India has seen fast expansion of electricity grid to unserved villages/hamlets in the last decade
Earlier the focus was on network expansion and household electrification , which has now shifted to network strengthening/augmentation and system modernization ( SCADA etc.)
DDUGJY scheme was launched in 2014 to create basic electricity infrastructure in villages , with major components of separation of agriculture and non- agriculture feeders, strengthening and augmentation of sub transmission and distribution infrastructure in rural areas, and completion of micro grid , off grid distribution network & rural electrification taken up in earlier scheme RGVVY
A separate scheme IPDS was launched in 2014 for upgradation and strengthening of sub-transmission and distribution infrastructure in urban areas
India launched Saubhagaya scheme in 2017 to achieve universal household electrification
All these three schemes were closed in 2021 , and a new scheme RDSS was launched in 2021 with an outlay of 36 billion USD which is a Reform-based and Result -linked Scheme which aim at reducing ATC( Aggregate Technical and Commercial Losses) to 12-15% and revenue- cost gap to zero on all India basis in five years.
Availability of supply in rural areas has increased from 12 hours in 2015 to 20.6 hours in 2023

## Slide 17: Commercial Aspects

## Slide 18: Commercial Aspects (1/2)
Expansion of generation capacity and T&D network requires huge investments necessitating private sector participation
This calls for ensuring financial viability of retail sale business
India’s experience shows that when consumption of electricity by household and agricultural consumers ( particularly of economically weaker sectors) expands, distribution business faces challenges of increased commercial losses and pressure on tariff subsidies due to political economy
Nepal has seen reduction in system loss from 13.46% in FY 23 to 12.73% in FY 24. Whether it includes commercial losses?
Human intervention free correct billing every month and near to 100% collection efficiency is a must. Smart metering / prepaid metering is the necessary intervention
Political economy due to pressure from low income households/farmers results into higher cross subsidies and subsidies. This may lead to uncompetitive tariffs for industrial consumers or subsidies remaining unpaid due to budgetary constraints
----- contd.

## Slide 19: Commercial Aspects (2/2)
In India, tariff subsidies have increased from about 16 Billion USD in FY 21 to 20.3 Billion USD in FY 23
Subsidies need to be effectively targeted and cross subsidies be kept to minimum levels

## Slide 20: Demand Side Management

## Slide 21: Demand Side Management (DSM) (1/2)
In addition to expansion in generation capacity and network augmentation, DSM is an important aspect to ensure that growth in electricity consumption is efficient and affordable
Seasonality and diurnal pattern of hydro and solar generation will need to be supported by additional investment in storage( PSP or BESS) to the extent it does not match with demand pattern. This is a partly avoidable cost if demand pattern can be modified through tariff and non-tariff interventions
Segregating supply hours for consumer category like agriculture is one option. India has gone for large scale segregation of agricultural feeders from feeders supplying to other categories and agricultural consumers are being supplied in solar hours which is convenient to farmers as well
Time of day tariff is another intervention. From conventional peak and non-peak hours differentiation in tariff, there is need to provide discounted tariff for consumption in solar hours Recent EV charging guidelines in India provides 30% discount in charging tariff for solar hours
Smart meters can also help in load research for designing effective TOD tariffs
--- contd.

## Slide 22: Demand Side Management (DSM) (2/2)
Another area needing attention is energy efficient appliances. Households will purchase new appliances as availability and reliability of power supply improves. If these appliances are not energy efficient, there is a risk of getting locked into inefficient consumption for several years
Need to institutionalise stringent system of energy efficiency standards for manufacture, sale/import of appliances having significant energy consumption
Better to give capex subsidy for efficient appliances than higher tariff subsidy

## Slide 23: Summary

## Slide 24: Summary
Increasing internal consumption of electricity will lead to better development results than only exports
Long term energy sector policies are necessary for planning the demand growth and system expansion
Granular, stochastic and periodic ISP is a pre-requisite for affordable power supply
Need to target for a diversified generation mix supported by storage at grid level
Evolving strategy is required for supporting T&D expansion
Commercial aspects are crucial for investment mobilization
DSM measures can reduce costs for the consumers

## Slide 25: End
Contact Us
General Capabilities Inquiries
projects@lantaugroup.com
Online
www.lantaugroup.com
Rigour
Value
Insight
Networks
Electricity
Gas
Bangkok | Delhi | Hanoi | Hong Kong | Kuala Lumpur | Melbourne and Perth | Seoul | Shanghai | Singapore